## Slide 1
EPICS on the Web:
Modernizing graphical user interfaces
Author: Jiří Švácha
31.01.2025
Date:
Visit to Harwell Science and Innovation Campus, February 5–6, 2025

## Slide 2
Agenda
Introduction
Vision: EPICS for the Web
Architecture Overview
Tech-stack
Examples
Future
Conclusion

## Slide 3
Introduction
HMIs as an essential component for successful operation
Current situation at ELI – Beamlines
Motivation for change

## Slide 4
Introduction
HMIs as an essential component for successful operation
Current situation at ELI – Beamlines
Motivation for change

## Slide 5
Introduction
Current situation at ELI – Beamlines

## Slide 6
Introduction
Current situation at ELI – Beamlines

## Slide 7
Introduction
HMIs as an essential component for successful operation
Current situation at ELI – Beamlines
Motivation for change

## Slide 8
Introduction
Motivation for change
Standardisation
LabView limitations
Deployment process
Authentication
Limitation of control from multiple locations at once
UX Designer

## Slide 9
Introduction
Motivation for change
Standardisation
LabView limitations
Deployment process
Authentication
Limitation of control from multiple locations at once
UX Designer

## Slide 10
Introduction
Motivation for change
Standardisation
LabView limitations
Deployment process
Authentication
Limitation of control from multiple locations at once
UX Designer

## Slide 11
Introduction
Motivation for change
Standardisation
LabView limitations
Deployment process
Authentication
Limitation of control from multiple locations at once
UX Designer

## Slide 12
Introduction
Motivation for change
Standardisation
LabView limitations
Deployment process
Authentication
Limitation of control from multiple locations at once
UX Designer

## Slide 13
Introduction
Motivation for change
Standardisation
LabView limitations
Deployment process
Authentication
Limitation of control from multiple locations at once
UX Designer

## Slide 14
Vision: EPICS for the Web
Use modern web technologies
Web Server as an EPICS Web Gateway
Web Client as a lightweight HMI
Easy deployment

## Slide 15
Vision: EPICS for the Web
Use modern web technologies
Web Server as an EPICS Web Gateway
Web Client as a lightweight HMI
Easy deployment

## Slide 16
Vision: EPICS for the Web
Use modern web technologies
Web Server as an EPICS Web Gateway
Web Client as a lightweight HMI
Easy deployment

## Slide 17
Vision: EPICS for the Web
Use modern web technologies
Web Server as an EPICS Web Gateway
Web Client as a lightweight HMI
Easy deployment

## Slide 18
Architecture Overview
EPICS
Web Server - Gateway
Web Client – Web App - HMI
ca monitors
WebSocket Provider Component
HMI Component
HMI Component
HMI Component
Register to provider
Provide
PVs
changes
Auth
Service
One Place
Operations
Limiter
Service
Smart
PVs to Channels Provider Service
websocket connection

## Slide 19
Tech-Stack
Server side: Python, FastAPI, aioca
Client side: Web Components, TypeScript

## Slide 20
Examples

## Slide 21
Examples

## Slide 22
Examples

## Slide 23
Examples

## Slide 24
Future
Demo project
Server side services implementations
Web Components library
Complex client application

## Slide 25
Conclusion
We still need to perform more load/stress tests
Hiring of the UX designer was a great choice – unified UI design
The design of new GUIs should always go through the UX designer
Implementation and deployment should then be very fast
Satisfied operators and less workload for technical support

## Slide 26
Thank you for your attention!
Author: Jiří Švácha
Visit to Harwell Science and Innovation Campus, February 5–6, 2025